{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["Products"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Products","index":0,"n_rows":15,"n_cols":8,"rows_kept":15,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
["PRODUCT NAME","ALD-HEFA"]
[]
[]
[]
[]
["","","","","ALD02HEFAU00","ALD03HEFAU00","ALD05HEFAU00","ALD07HEFAU00"]
["Connectable unit","","","","ALB02LB, ALB02RB","ALB03LB, ALB03RB","ALB04LB, ALB04RB, ALB05LB, ALB05RB","ALB06LB, ALB06RB, ALB07LB, ALB07RB"]
["Capacity","kW","","","1.5","3.0","7.5","15.0"]
["Dimensions","Unit","Width","mm","370","370","370","370"]
["","","Depth","mm","470","620","720","920"]
["","","Height","mm","190","240","340","440"]
["Weight","Unit","","kg","7.5","10","14","21"]
["Power supply","Phase","","","1~","1~","3~","3~"]
["","Frequency","","Hz","50","50","50","50"]
["","Voltage","","V","230","230","400","400"]